## Slide 1
Connect Gadgetron to MR scanner
An interactive session for IceGadgetron
Hui Xue
NHLBI, NIH
June 2020

## Slide 2: In this session
Overview of IceGadgetron
Ice simulation and debug IceGadgetron/Gadgetron
On scanner demo
FAQ and discussion

## Slide 3: Why the IceGadgetron is needed
Because it enables clinical imaging using Gadgetron
100% software solution
Gadgetron processing is transparent to end user

## Slide 4: Where is IceGadgetron and how to access
https://github.com/NHLBI-MR/IceGadgetron
Available for Siemens Customers with research agreement
Contact hui.xue@nih.gov
PR welcome!

## Slide 5: What IceGadgetron does
Raid
Data
labelling
Emitter
Recon
Decorator
ImageSend
Vendor provided reconstruction
Raid
Data
labelling
Recon
Decorator
ImageSend
Injector
Gadgetron
IceGadgetron changes the default chain
Data out
Images back

## Slide 6: Set IceProgram of a sequence
Determined in sequence by set ice program name

## Slide 7: Default IceProgram ipr

## Slide 8: Add IceGadgetron

## Slide 9: What is IceProgram xml: parameters to control recon chain

## Slide 10: What is gadgetron.ini: parameters to control where to send data

## Slide 11: What is gadgetron.ini: use tunnel
ssh –L localhostname:localgadgetronport:remotehostname:remotegadgetronport –i rsakeyfile gtuser@sshhost
ssh –L localhost:9002:137.187.135.117:9002 –i rsakeyfile gtuser@137.187.135.117
Flexible connections to gadgetron servers

## Slide 12: Handle the dependent measurements
A MR scan can depend on previous scans
  Sensitivity maps
  Pre-scan/surface coil correction data
  Noise scans

## Slide 13: Handle the dependent measurements
IceGadgetron always first send dependency scans to Gadgetron first, if possible
In GadgetronConfigurator
has dependent scans?
Find the file id of
dependent scans
Dump the dependent scans
MriCustomer/ice/dependency
Notice the Emitter to
process dependencies
Convert dependent scan to
MRD format
In GadgetronEmitter
has dependent scans?
yes
yes
Send dependent scan
to Gadgetron
Other steps …
Other steps …

## Slide 14: Handle the dependent measurements
In the IceProgramGadgetron xml, there are a few options about dependent scans

## Slide 15: Demo session IceGadgetron in IDEA simulation
On IDEA side
  icestart –r –dicom
  icesimu test.dat
  change gadgetron.ini
  check logviewer
On Gadgetron side
  Start Gadgetron
  Watch log
Live demo …
  On localhost
  On remote server
  Inline debug

## Slide 16: Configurator
GadgetronConfigurator.h/cpp
Check baseline
Parse seq parameters
Parse gadgetron.ini
Establish ssh connection
if needed
Determine where to insert
Emitter and Injector
Create and insert
Emitter and Injector
functors
…

## Slide 17: Emitter
If running Gadgetron on mars,
start gadgetron
Process dependent scans
Convert every
readout line to MRD format
Send MRD acquisition
to gadgetron
…

## Slide 18: Emitter : ComputeScan
IResult GadgetronEmitterFunctor::ComputeScan(IceAs& srcAs, MdhProxy& aMdh, ScanControl& ctrl)
{
…
// declare MRD acquisition
// create gadgetron acq message and send it out
GadgetContainerMessage<GadgetMessageIdentifier> *m1 =
new GadgetContainerMessage<GadgetMessageIdentifier>();
…
GadgetContainerMessage<ISMRMRD::Acquisition>* m2 =
new GadgetContainerMessage<ISMRMRD::Acquisition>();
m1->cont(m2);
// fill MRD acquisition header from Mdh
std::vector<int> dimensions(2);
dimensions[0] = aMdh.getNoOfColumns();
dimensions[1] = aMdh.getNoOfChannels();
ah->version = ISMRMRD_VERSION;
ah->measurement_uid = aMdh.getMeasUID();
ah->scan_counter = aMdh.getScanCounter();
ah->acquisition_time_stamp = aMdh.getTimeStamp();
ah->physiology_time_stamp[0] = aMdh.getPMUTimeStamp();
ah->number_of_samples = aMdh.getNoOfColumns();
ah->active_channels = aMdh.getNoOfChannels();
ah->center_sample = aMdh.getKSpaceCentreColumn();
ah->position[0] = aMdh.getSliceData().sSlicePosVec.flSag;
ah->position[1] = aMdh.getSliceData().sSlicePosVec.flCor;
ah->position[2] = aMdh.getSliceData().sSlicePosVec.flTra;
// fill MRD acquisition data array
size_t data_length = ah->number_of_samples*ah->active_channels;
a->data_ = new float[2*data_length];
…
memcpy(a->data_,coherentAs.calcSplObjStartAddr(),data_length*2*sizeof(float));
…
// send MRD acquisition to socket
connector_->writer_task().svc2(m1) != 0
…
}

## Slide 19: Emittor: for sync data (ECG, RESP, Grad …)
IResult GadgetronEmitterFunctor::UpdateScan(ISEQDataEvent* data)
{
#ifndef SIEMENS_VB17
// Check sync data type
SEQData& syncdata = data->getSEQData();
int32_t len = syncdata.getLength();
std::string id = std::string(syncdata.getID());
bool is_pmu = false;
bool is_pmu_learn = false;
bool is_gradient = false;
if (id.find("PMULearnPhase") != id.npos)
{
is_pmu = true;
is_pmu_learn = true;
}
…
if(is_pmu || is_pmu_learn || is_gradient)
{
uint32_t* pmu_data = reinterpret_cast<uint32_t*>(syncdata.getData());
// convert sync data to MRD waveform
std::vector<ISMRMRD::Waveform> wav;
GadgetContainerMessage<GadgetMessageIdentifier> *m1 = new GadgetContainerMessage<GadgetMessageIdentifier>();
m1->getObjectPtr()->id = static_cast<ACE_UINT16>(GADGET_MESSAGE_ISMRMRD_WAVEFORM);
GadgetContainerMessage<ISMRMRD::ISMRMRD_Waveform>* m2 = new GadgetContainerMessage<ISMRMRD::ISMRMRD_Waveform>();
m1->cont(m2);
size_t num_total_samples = pWav->head.channels * pWav->head.number_of_samples;
m2->getObjectPtr()->head = pWav->head;
m2->getObjectPtr()->data = new uint32_t[num_total_samples];
memcpy(m2->getObjectPtr()->data, pWav->data, num_total_samples * sizeof(uint32_t));
// send wave form to Gadgetron
if (connector_->writer_task().svc2(m1) != 0)
…
…
}
#endif // SIEMENS_VB17
return I_OK;
}

## Slide 20: Injector
Configure and
start ImageReader
Monitor socket for
incoming images
Convert MRD image
to ICE object
Pass image to next functor
…
GadgetronInjectorFunctor.h/cpp
GadgetMessageReaders.h/cpp

## Slide 21: Demo session IceGadgetron on scanner
Installation and installer
Run scanner on MARS
Change gadgetron.ini to use external server
Change gadgetron.ini to use ssh tunnel – a preview for Gadgetron AI demo
To reproduce these demo:
Installer
Chroot image
  To create chroot, call gadgetron/docker/create_chroot_from_image
  Data, AI model, scripts etc.

## Slide 22: How to configure the ICE in general
Check default
function chain
Determine places to insert
Emitter and Injector
Whether to remove functors
Ice simu and check logs
…
For a new application,
Scanner test
Common places to insert:
For emitter, Root, Flags,
For Injector, DistorCor2D/3D, ImaFinish
On scanner inline debug is possible
Edit IceProgramGadgetron, edit xml file …